Regarding Article 13 of Law of metrology (“Official Gazette of Republic of Macedonia” No. 55/2002 and 84/2007), Minister of Economy adopted

REGULATION FOR REALIZATION OF NATIONAL MEASUREMENT STANDARDS, CONSERVATION AND MAINTENANCE CONDITIONS, AND CONDITIONS FOR RECOGNITION OF REFERENT MATERIALS AS NATIONAL MEASUREMENT STANDARDS

Article 1

This regulation prescribes the conditions for realization, conservation and maintenance of national measurement standards and conditions for recognition of referent materials as national measurement standards.

Article 2

The system of national measurement standards in republic of Macedonia is based on establishing national measurement standards for measuring units of International System of measuring units (SI), in order to ensure traceability for larger number of calibrations and measurements.

The Metrological Council of the Bureau of metrology establishes an expert body for assessment of priorities and needs for realization of national measurement standard for the certain measuring unit.

Article 3

The national measuring standards:

- Are standards with highest accuracy and ensures minimum uncertainty for certain physical quantity;

- Ensures dissemination of the measuring units, in required area of physical quantity, with the best measurement capability

- Ensures economical and continuous working of the metrology system, in accordance with national needs and capabilities.

Article 4

Regarding to national measuring standards, the Bureau of metrology has responsibilities over planning and ensuring  their traceability to international level and dissemination of measuring units of each physical quantities.

Article 5

By assured traceability, the Bureau of Metrology can recognize with decree, a realized referent standard, as a national measuring standard  after positive opinion on its recognition issued b  the Metrological Council of the Bureau of metrology.

The Bureau of Metrology has to coordinate the metrological activities of  bearers of the national measuring standards and support collaborations and participation in appropriate domestic and international metrological activities.

The Bureau is providing a procedure of recognition of the referent standard as national standard based on request and elaborate submitted by the legal entity,  owner  of the referent standard.

Article 6

For recognizing a national measuring standard, the legal entity that establish, conserve and maintain the standard should:

- Have accreditation for performing calibration needed for traceability in accordance with appropriate standard.

- Have laboratory premises, standards, auxiliary equipment needed for  maintaining the metrological characteristics;

- Manage providing the traceability, measuring methods, measuring instruments and IT equipment; by qualified staff

- Have technical  literature of appropriate metrological area;

- Have complete review of the conditions for immediate, short-terms and long-terms  needs of calibrations on highest level in Republic of Macedonia and in the world;

- Maintaining the level of uncertainty in measuring range of physical quantity for which has been accredited;

- Has complete strategy on development of calibration activity in its own laboratory, according the needs in the Republic of Macedonia;

The legal entity should award accreditation from appropriate accreditation body a signatory of appropriate agreement of mutual recognition of  accreditation certificates.

Article 7

The Bearer of the national measuring standard has obligation of conservation of the standard and its traceability by:

- Periodical calibrations of the national measuring standard with international or national standards of other countries on the highest level;

- Inter-comparison of national standards;

- Regular conservation of needed auxiliary equipment for the standard.

Article 8

The Bearer of the national measuring standard should:

- Make calibrations of standards on second level;

- Participating in drawing of national traceability charts;

- Be active in the metrology area connected to appropriate physical quantity, to follow the trends in the world, adjusting it in coordination with the Bureau of Metrology;

- To follow the metrology needs in the Republic of Macedonia;

- Participating in international projects in metrology and inter-comparisons in the frame of its capabilities;

- Fulfills of obligations appointed in Contract with the Bureau of Metrology.

Article 9

The Bearer of the national measuring standard should use the equipment with status of national measurement standard for:

- Dissemination of  measuring unit;

- Maintaining of traceability;

- Inter-comparison and collaboration in  international and national projects;

- Researching activities connected with improving of metrological characteristics;

Article 10

The Bearer of the national measuring standard has obligation to make Contract for insurance from damage that could impose to the third party from his activities  and  insurance of the national standard and other additional equipment for maintaining of measurement traceability, in case of breaking down or damage during the usage or transport.

Article 11

The Bureau follows performed activities as well as accomplishment of the obligations of the bearer of the national measuring standard. According to the submitted documentation, by the bearer of the national measuring standard and performed audit of the Quality System, as well as inter - comparison results. If the Bureau evaluates that the  conditions of this Regulation are not accomplished, and according to expert’s opinion of the Metrology Council, the Decree for national standard recognition and the Contract from the Article 12 of this Regulation can be repealed.

The Metrology Council confirm or make opinion on the report of the expert’s body established for the issue in concern.

Article 12

The Bureau and the bearer of the national standard make Contract that regulates:

- Manner of financing of the activities, related with the national standard;

- Owners relations regarding equipment, when the Bureau is the co-financier;

- Insurance, that should be done by the bearer of the national standard;

- Documentation, hat the bearer of the national standard that be should submit to the Bureau;

- Best measurement capabilities;

- Procedure for informing the Bureau about changes, related to performing of the activities and accomplishing the obligations of the bearer of the national standard, defined by the provisions of this Regulation;

- List of experts from the article 6, paragraph 3 of this Regulation, with compulsorily claiming of the responsible person for the laboratory and its deputy;

- Manner of extension of the Contract;

- And other conditions laid down by this Regulation.

The document for accreditation of the calibration laboratory is integral part of the Agreement.

Article 13

This regulation enters into force on the eighth day from its publishing in the “Official Gazette of the Republic of Macedonia”.