| Referent Record code | NO | RANGE AND UNCERTAINTY | METHOD OF CALIBRATION | TYPES OF EQUIPEMENT TO BE CALIBRATED | TYPE OF STANDARDS USED BY BOM |
| --- | --- | --- | --- | --- | --- |
| LP 04-M-01 | 1 | 1mg - 20kg, U = 0.001 …. 3mg | LP 04-M-01, Procedure for calibration of weights | Weights from E2, F1, F2, M1 class | 1. Set of weights from1mg to 5kg, E1 class, serial number: 17329310/17329311; 2. Weights from 10kg, E1 class, serial number: 17329522/17329523; 3. Weights from 20kg, E1 class, serial number:17429680/17429681 Manufacturer: Sartorius |
| BoM-M-0213/2011/I BoM-M-129/2010 | 2 | to 250mg, U = 7 10-6g 250mg – 150kg, U = 2.9 10-5 g | LP 04-M-02, Procedure for calibration of balances | Balances (I and II class) | 1. Set of weights from 1mg to 500g, F1 class, serial number:108, Manufacturer: Tehtnica. 2. Set of weights from 1mg to 5kg, E2 class, serial number 17329518, 3. Set of weights from 1mg to 1kg, F1 class, serial number 17329513, 4. Weight from 50kg, F1 class, serial number: 17429065/17429064 Manufacturer: Sartorius |